## Summary
Summary
Sample | L# |  |  | Plateau age |  |  |  | Isochron age |  |  | Integrated age
|  | Age | ± | %39Ar | n | Age | ± | 40Ar/36Aro | ± | n | Age | ±
1111-3-1 | 62292 | 26.0715 | 0.11426 | 57.6248 | 9 | 5.4472 | 0.017638 | 299.4 | 0.7 | 9 | 26.2901 | 0.032841
L# = Lab number
n = number of steps for plateau or isochron.
%39Ar = percentage of total 39Ar comprising the plateau steps.
All errors at 1s
Age reported in the box is the preferred eruption age.
Methods
Sample preparation and irradiation:
Groundmass reacted with dilute HCl followed by DI water rinse in an ultrasound. Fragments picked were free of visible phenocrysts.
Samples were loaded into machined Al discs and irradiated for 8 hours in the central thimble at the USGS reactor, Denver, CO.
Neutron flux monitor Fish Canyon Tuff sanidine (FC-2). Assigned age = 28.201 Ma (Kuiper et al., 2008).
40K Decay constant 5.463e-10 /a (Min et al., 2000).
Instrumentation:
Thermo-Fisher Scientific ARGUS VI mass spectrometer on line with automated all-metal extraction system.
System = Obama
Multi-collector configuration: 40Ar-H1, 39Ar-Ax, 38Ar-L1, 37Ar-L2, 36Ar-L3
Amplification: H1, L1, L2 1E12 Ohm Faraday, AX 1E13 Ohm Faraday, L3 - CDD ion counter, deadtime 14 nS.
Laser Step-heating:
Samples step-heated with 75W Photon-Machines 810 nm diode laser. 40 second heating time
Reactive gases removed by 4 min reaction with 1 SAES GP-50 getters operated at 450°C.
Gas also exposed to cold finger operated at -140°C and a W filament operated at ~2000°C.
Analytical parameters:
Mass spectrometer sensitivity = 1E-16 mol/fA
Total system blank and background: 15-30±1%, 0.15±10%, 0.02-0.15±50%, 0.1±15%, 0.05-0.12±3%, x 10-17 moles
for masses 40, 39, 38, 37, 36, respectively.
J-factors determined to a precision of ~± 0.03% by CO2 laser-fusion of 6 single crystals from each of 6 radial
positions around a 12-hole irradiation tray.
Correction factors for interfering nuclear reactions were determined using K-glass and CaF2 and are as follows:
(40Ar/39Ar)K = 0.008245±0.00006; (36Ar/37Ar)Ca = 0.0002725±0.0000005; and (39Ar/37Ar)Ca = 0.0006863±0.000003.
(40Ar/39Ar)K = 0.007529±0.000237; (36Ar/37Ar)Ca = 0.0002633±0.00000034; and (39Ar/37Ar)Ca = 0.0007529±0.000237.

## Data
| ID | Power | 40Ar/39Ar | 37Ar/39Ar | 36Ar/39Ar | 39ArK | K/Ca | 40Ar* | 39Ar | Age | ±1s | Dur Heating At Req Pgm | Comment | Irrad. | Ar40_Disc | Ar40_DiscEr | Run_ID | Sample | System | Run_Date | Run_Hour | Run_SecSince1904 | PrincipalInvestigator | Material | Hole # | Project | Locality | File | Version | History | Comment | Fit_Type | Signal Norm. | Run Script | Fract_Deliv_To_MS | Heating_Dev | Pgm_Requested | Pgm_Achieved | Pgm_AchievedSD | Pgm_AchievedMax | OP_Temp | Tot_Dur_Heating | Dur_Heating_At_Req_Pgm | Holes | X_Y_Pos | Laser Scan File | Beam_Dia | Ar41_ | Ar41_Er | Ar40_ | Ar40_Er | Ar39_ | Ar39_Er | Ar38_ | Ar38_Er | Ar37_ | Ar37_Er | Ar36_ | Ar36_Er | Ar41_BslnCorOnly | Ar41_Er_BslnCorOnly | Ar40_BslnCorOnly | Ar40_Er_BslnCorOnly | Ar39_BslnCorOnly | Ar39_Er_BslnCorOnly | Ar38_BslnCorOnly | Ar38_Er_BslnCorOnly | Ar37_BslnCorOnly | Ar37_Er_BslnCorOnly | Ar36_BslnCorOnly | Ar36_Er_BslnCorOnly | Ar41_Disc | Ar41_DiscEr | Ar40_Disc | Ar40_DiscEr | Ar39_Disc | Ar39_DiscEr | Ar38_Disc | Ar38_DiscEr | Ar37_Disc | Ar37_DiscEr | Ar36_Disc | Ar36_DiscEr | Ar41_ICFactor | Ar41_ICFactorEr | Ar40_ICFactor | Ar40_ICFactorEr | Ar39_ICFactor | Ar39_ICFactorEr | Ar38_ICFactor | Ar38_ICFactorEr | Ar37_ICFactor | Ar37_ICFactorEr | Ar36_ICFactor | Ar36_ICFactorEr | Ar41_Bkgd | Ar41_BkgdEr | Ar40_Bkgd | Ar40_BkgdEr | Ar39_Bkgd | Ar39_BkgdEr | Ar38_Bkgd | Ar38_BkgdEr | Ar37_Bkgd | Ar37_BkgdEr | Ar36_Bkgd | Ar36_BkgdEr | Ar36_Over_Ar39 | Ar36_Over_Ar39_Er | PctAr36Ca | Ar37_Over_Ar39 | Ar37_Over_Ar39_Er | Ca_Over_K | Ca_Over_K_Er | Cl_Over_K | Cl_Over_K_Er | Ar38_Over_Ar39 | Ar38_Over_Ar39_Er | Ar40_Over_Ar39 | Ar40_Over_Ar39_Er | Ar40Rad_Over_Ar39 | Ar40Rad_Over_Ar39_Er | PctAr40Rad | PctAr40Rad_Er | Age | Age_Er | Age_Er_with_J_er | Age_Monte_Carlo | Age_Er_with_external_error | Ar39_Moles | Ar40_Moles | Irrad | J | J_Er | 37_Decay | 39_Decay | Ca_39_Over_37 | Ca_39_Over_37_Er | Ca_38_Over_37 | Ca_38_Over_37_Er | Ca_36_Over_37 | Ca_36_Over_37_Er | K_38_Over_39 | K_38_Over_39_Er | K_40_Over_39 | K_40_Over_39_Er | K_37_Over_39 | K_37_Over_39_Er | P36Cl_Over_38Cl | P36Cl_Over_38Cl_Er | Ca_Over_K_Multiplier | Ca_Over_K_Multiplier_Er | Ar41_DecayCor | Ar41_DecayCorEr | Ar40_DecayCor | Ar40_DecayCorEr | Ar39_DecayCor | Ar39_DecayCorEr | Ar38_DecayCor | Ar38_DecayCorEr | Ar37_DecayCor | Ar37_DecayCorEr | Ar36_DecayCor | Ar36_DecayCorEr | Isoch_36_Over_40 | Pct_i36_Over_40_Er | Isoch_39_Over_40 | Pct_i39_Over_40_Er | Pct_i39_Over_36_Er | Correl_40_Over_39 | Correl_36_Over_39 | Lambda_40K_epsilon | Lambda_40K_epsilon_Er | Lambda_40K_Beta | Lambda_40K_Beta_Er | Lambda_Ar37 | Lambda_Ar37_Er | Lambda_Ar39 | Lambda_Ar39_Er | Lambda_36Cl | Lambda_36Cl_Er | 40K_abundance | 40K_abundance_Er | Air_40_Over_36 | Air_40_Over_36_Er | Air_40_Over_38 | Air_40_Over_38_Er | K38_Over_39 | Cl38_Over_39
|  | (Watts) |  |  | (x 10-3) | (x 10-15 mol) |  | (%) | (%) | (Ma) | (Ma)
1111-3-1, gm, 3.56 mg, J=0.0014141±0.03%, IC=1.01956±0.00109, NM-263E, Lab#=62292-01
Xi | A | 0.3 | 96.8148 | 0.80429 | 299.3634 | 0.96354 | 0.63435 | 8.6906 | 5.2583 | 21.6606 | 0.35019 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01A | 1111-3-1 | 36 | 2014-02-11 | 13.9833 | 3474972000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 0.3 | 0.3 | 0 | 0.3 | 0 | 40 | 40 | 52 |  |  | 0 | -0.01072 | 0.021771 | 933.3676 | 0.074243 | 9.6359 | 0.011077 | 1.7047 | 0.021092 | 1.892 | 0.027001 | 2.8861 | 0.0044453 | 0.02088 | 0.0086 | 936.1364 | 0.066 | 9.6506 | 0.011 | 1.7202 | 0.02 | 1.8988 | 0.027 | 2.8412 | 0.0031 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.29936 | 0.0005754 | 0.073201 | 0.80429 | 0.011515 | 1.5764 | 0.02257 | 0.31849 | 4.6752e-06 | 0.17682 | 0.0021973 | 96.8148 | 0.11156 | 8.4177 | 0.1369 | 8.6906 | 0.14098 | 21.6606 | 0.35019 | 0.35024 | 0 | 0 | 4.8204e-16 | 4.6668e-14 | NM-263E | 0.0014141 | 3.9697e-07 | 4.0983 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | -0.01072 | 0.021771 | 933.3676 | 0.074243 | 9.6408 | 0.011082 | 1.7047 | 0.021092 | 7.754 | 0.11066 | 2.8861 | 0.0044453 | 0.00309 | 0.15436 | 0.010324 | 0.1153 | 0.19233 | 0.80041 | 0.003556 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.10982
Xi | B | 0.5 | 15.3261 | 1.4391 | 15.8669 | 1.2062 | 0.35452 | 70.1498 | 11.8411 | 27.6326 | 0.068274 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01B | 1111-3-1 | 36 | 2014-02-11 | 14.1 | 3474972000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 0.5 | 0.5 | 0 | 0.5 | 0 | 40 | 40 | 52 |  |  | 0 | -0.00433 | 0.021973 | 185.0521 | 0.050249 | 12.0682 | 0.011077 | 0.3034 | 0.022998 | 4.2395 | 0.026001 | 0.19158 | 0.0010009 | 0.02727 | 0.0091 | 187.8209 | 0.037 | 12.0829 | 0.011 | 0.3189 | 0.022 | 4.2463 | 0.026 | 0.19838 | 0.00087 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.015867 | 8.42e-05 | 2.4712 | 1.4391 | 0.0089246 | 2.8207 | 0.017492 | 0.032665 | 3.6234e-06 | 0.025128 | 0.0019048 | 15.3261 | 0.01467 | 10.7561 | 0.026777 | 70.1498 | 0.16339 | 27.6326 | 0.068274 | 0.068707 | 0.11565 | 0 | 6.0371e-16 | 9.2526e-15 | NM-263E | 0.0014141 | 3.9697e-07 | 4.0988 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | -0.00433 | 0.021973 | 185.0521 | 0.050249 | 12.0743 | 0.011082 | 0.3034 | 0.022998 | 17.3766 | 0.10657 | 0.19158 | 0.0010009 | 0.0010102 | 0.53663 | 0.065219 | 0.095856 | 0.54374 | 0.98436 | 0.014357 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.011264
Xi | C | 0.7 | 12.3319 | 1.585 | 5.5849 | 1.7363 | 0.32189 | 87.6457 | 21.3165 | 27.7774 | 0.04352 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01C | 1111-3-1 | 36 | 2014-02-11 | 14.2333 | 3474973000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 0.7 | 0.7 | 0 | 0.7 | 0 | 40 | 40 | 52 |  |  | 0 | -0.01613 | 0.021771 | 214.351 | 0.048795 | 17.3731 | 0.01207 | 0.3166 | 0.020147 | 6.7211 | 0.027001 | 0.097075 | 0.0008842 | 0.01547 | 0.0086 | 217.1198 | 0.035 | 17.3878 | 0.012 | 0.3321 | 0.019 | 6.7279 | 0.027 | 0.10568 | 0.00076 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.0055849 | 5.1e-05 | 7.7327 | 1.585 | 0.0064622 | 3.1067 | 0.012666 | 0.018176 | 2.6236e-06 | 0.018214 | 0.0011591 | 12.3319 | 0.0090159 | 10.8129 | 0.01707 | 87.6457 | 0.12577 | 27.7774 | 0.04352 | 0.044203 | 0.020412 | 0 | 8.6909e-16 | 1.0718e-14 | NM-263E | 0.0014141 | 3.9697e-07 | 4.0992 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | -0.01613 | 0.021771 | 214.351 | 0.048795 | 17.3819 | 0.012076 | 0.3166 | 0.020147 | 27.551 | 0.11068 | 0.097075 | 0.0008842 | 0.0004181 | 0.98817 | 0.081057 | 0.073233 | 0.99034 | 0.99727 | 0.007175 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.0062675
Xi | D | 0.9 | 12.117 | 1.4743 | 5.9314 | 1.5228 | 0.34607 | 86.507 | 29.6267 | 26.9426 | 0.046703 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01D | 1111-3-1 | 36 | 2014-02-11 | 14.3667 | 3474973000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 0.9 | 0.9 | 0 | 0.9 | 0 | 40 | 40 | 52 |  |  | 0 | -0.00779 | 0.022361 | 184.7004 | 0.048795 | 15.2354 | 0.013065 | 0.2703 | 0.018273 | 5.4816 | 0.025001 | 0.090413 | 0.000804 | 0.02381 | 0.01 | 187.4692 | 0.035 | 15.2501 | 0.013 | 0.2858 | 0.017 | 5.4884 | 0.025 | 0.099148 | 0.00067 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.0059314 | 5.3e-05 | 6.7721 | 1.4743 | 0.0068418 | 2.8896 | 0.01341 | 0.016616 | 2.7778e-06 | 0.017733 | 0.0011988 | 12.117 | 0.010873 | 10.4855 | 0.01831 | 86.507 | 0.13347 | 26.9426 | 0.046703 | 0.047303 | 0 | 0 | 7.6215e-16 | 9.235e-15 | NM-263E | 0.0014141 | 3.9697e-07 | 4.0996 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | -0.00779 | 0.022361 | 184.7004 | 0.048795 | 15.2431 | 0.013071 | 0.2703 | 0.018273 | 22.4724 | 0.10249 | 0.090413 | 0.000804 | 0.0004566 | 0.95494 | 0.082501 | 0.089876 | 0.95841 | 0.9956 | 0.0081485 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.0057298
Xi | E | 1 | 12.4659 | 1.3517 | 7.3934 | 1.1438 | 0.37746 | 83.3372 | 35.8687 | 26.7028 | 0.061869 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01E | 1111-3-1 | 36 | 2014-02-11 | 14.5167 | 3474974000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 1 | 1 | 0 | 1 | 0 | 40 | 40 | 52 |  |  | 0 | -0.01259 | 0.021616 | 142.7182 | 0.045343 | 11.4429 | 0.013065 | 0.1869 | 0.021092 | 3.7743 | 0.024001 | 0.084645 | 0.0008032 | 0.01901 | 0.0082 | 145.487 | 0.03 | 11.4576 | 0.013 | 0.2024 | 0.02 | 3.7811 | 0.024 | 0.093491 | 0.00067 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.0073934 | 7.07e-05 | 4.9812 | 1.3517 | 0.0087329 | 2.6493 | 0.017116 | 0.011768 | 3.5456e-06 | 0.016325 | 0.0018424 | 12.4659 | 0.014774 | 10.3915 | 0.024253 | 83.3372 | 0.17159 | 26.7028 | 0.061869 | 0.062315 | 0.064663 | 0 | 5.7243e-16 | 7.1359e-15 | NM-263E | 0.0014141 | 3.9697e-07 | 4.1001 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | -0.01259 | 0.021616 | 142.7182 | 0.045343 | 11.4487 | 0.013071 | 0.1869 | 0.021092 | 15.475 | 0.098407 | 0.084645 | 0.0008032 | 0.0005639 | 0.99981 | 0.080197 | 0.11869 | 1.0058 | 0.99302 | 0.0085226 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.0040578
Xi | F | 1.2 | 13.5737 | 1.2029 | 11.5788 | 1.1923 | 0.42413 | 75.4931 | 42.3752 | 26.3402 | 0.063668 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01F | 1111-3-1 | 36 | 2014-02-11 | 14.6333 | 3474974000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 1.2 | 1.2 | 0 | 1.2 | 0 | 40 | 40 | 52 |  |  | 0 | -0.01046 | 0.021395 | 161.9665 | 0.048795 | 11.9264 | 0.01207 | 0.2319 | 0.019207 | 3.5005 | 0.022001 | 0.13816 | 0.0008999 | 0.02114 | 0.0076 | 164.7353 | 0.035 | 11.9411 | 0.012 | 0.2474 | 0.018 | 3.5073 | 0.022 | 0.14598 | 0.00077 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.011579 | 7.63e-05 | 2.8306 | 1.2029 | 0.007658 | 2.3577 | 0.01501 | 0.018543 | 3.1092e-06 | 0.019435 | 0.0016097 | 13.5737 | 0.014333 | 10.2494 | 0.024953 | 75.4931 | 0.16863 | 26.3402 | 0.063668 | 0.06409 | 0 | 0 | 5.9662e-16 | 8.0983e-15 | NM-263E | 0.0014141 | 3.9697e-07 | 4.1005 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | -0.01046 | 0.021395 | 161.9665 | 0.048795 | 11.9324 | 0.012076 | 0.2319 | 0.019207 | 14.3539 | 0.090217 | 0.13816 | 0.0008999 | 0.0008293 | 0.67128 | 0.073656 | 0.10574 | 0.67819 | 0.98779 | 0.01281 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.0063942
| G | 1.45 | 16.5515 | 1.0161 | 22.0374 | 1.6137 | 0.50212 | 61.1329 | 51.1814 | 26.0111 | 0.070116 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01G | 1111-3-1 | 36 | 2014-02-11 | 14.7667 | 3474975000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 1.45 | 1.45 | 0 | 1.45 | 0 | 40 | 40 | 52 |  |  | 0 | -0.01605 | 0.021771 | 267.2715 | 0.048795 | 16.1397 | 0.011077 | 0.4147 | 0.020147 | 4.001 | 0.022001 | 0.35586 | 0.0014417 | 0.01555 | 0.0086 | 270.0403 | 0.035 | 16.1544 | 0.011 | 0.4302 | 0.019 | 4.0078 | 0.022 | 0.3595 | 0.0013 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.022037 | 9.06e-05 | 1.2563 | 1.0161 | 0.0056308 | 1.9916 | 0.011036 | 0.031013 | 2.2861e-06 | 0.025681 | 0.0012478 | 16.5515 | 0.011754 | 10.1204 | 0.027475 | 61.1329 | 0.16094 | 26.0111 | 0.070116 | 0.07049 | 0.013833 | 0 | 8.0739e-16 | 1.3364e-14 | NM-263E | 0.0014141 | 3.9697e-07 | 4.101 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | -0.01605 | 0.021771 | 267.2715 | 0.048795 | 16.1478 | 0.011082 | 0.4147 | 0.020147 | 16.4079 | 0.090226 | 0.35586 | 0.0014417 | 0.0013153 | 0.4108 | 0.060405 | 0.071099 | 0.41609 | 0.98531 | 0.011429 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.010694
| H | 1.7 | 21.2489 | 0.97174 | 38.4215 | 1.3458 | 0.52504 | 46.9175 | 58.5256 | 25.6328 | 0.097439 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01H | 1111-3-1 | 36 | 2014-02-11 | 14.9167 | 3474975000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 1.7 | 1.7 | 0 | 1.7 | 0 | 40 | 40 | 52 |  |  | 0 | 0.00306 | 0.021541 | 286.1496 | 0.050249 | 13.4598 | 0.01207 | 0.352 | 0.022043 | 3.1906 | 0.023001 | 0.51741 | 0.0016811 | 0.03466 | 0.008 | 288.9184 | 0.037 | 13.4745 | 0.012 | 0.3675 | 0.021 | 3.1974 | 0.023 | 0.51795 | 0.0015 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.038421 | 0.0001295 | 0.6891 | 0.97174 | 0.0070593 | 1.9046 | 0.013836 | 0.023435 | 2.8661e-06 | 0.026139 | 0.001637 | 21.2489 | 0.019417 | 9.9722 | 0.038174 | 46.9175 | 0.17478 | 25.6328 | 0.097439 | 0.0977 | 0.033903 | 0 | 6.7333e-16 | 1.4307e-14 | NM-263E | 0.0014141 | 3.9697e-07 | 4.1015 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | 0.00306 | 0.021541 | 286.1496 | 0.050249 | 13.4666 | 0.012076 | 0.352 | 0.022043 | 13.0861 | 0.094338 | 0.51741 | 0.0016811 | 0.0017964 | 0.32769 | 0.047048 | 0.091475 | 0.33929 | 0.963 | 0.0103 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.0080811
| I | 1.9 | 25.2634 | 1.0303 | 51.7642 | 0.90983 | 0.4952 | 39.7622 | 63.4908 | 25.8291 | 0.12739 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01I | 1111-3-1 | 36 | 2014-02-11 | 15.0333 | 3474976000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 1.9 | 1.9 | 0 | 1.9 | 0 | 40 | 40 | 52 |  |  | 0 | 0.01705 | 0.021771 | 230.0175 | 0.049518 | 9.1002 | 0.011077 | 0.2544 | 0.020147 | 2.2869 | 0.022001 | 0.4713 | 0.0014801 | 0.04865 | 0.0086 | 232.7863 | 0.036 | 9.1149 | 0.011 | 0.2699 | 0.019 | 2.2937 | 0.022 | 0.47273 | 0.0013 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.051764 | 0.0001743 | 0.54229 | 1.0303 | 0.009991 | 2.0194 | 0.019582 | 0.021389 | 4.0563e-06 | 0.027941 | 0.002213 | 25.2634 | 0.031227 | 10.0491 | 0.049914 | 39.7622 | 0.19165 | 25.8291 | 0.12739 | 0.1276 | 0 | 0 | 4.5524e-16 | 1.1501e-14 | NM-263E | 0.0014141 | 3.9697e-07 | 4.1019 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | 0.01705 | 0.021771 | 230.0175 | 0.049518 | 9.1048 | 0.011082 | 0.2544 | 0.020147 | 9.3806 | 0.090246 | 0.4713 | 0.0014801 | 0.0020385 | 0.31655 | 0.039568 | 0.12373 | 0.33848 | 0.93085 | 0.011844 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.0073756
| J | 2.2 | 27.078 | 1.4147 | 57.7317 | 1.1005 | 0.36064 | 37.4012 | 69.4968 | 26.0464 | 0.13403 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01J | 1111-3-1 | 36 | 2014-02-11 | 15.1667 | 3474976000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 2.2 | 2.2 | 0 | 2.2 | 0 | 40 | 40 | 52 |  |  | 0 | 0.00218 | 0.02185 | 298.2956 | 0.05099 | 11.0106 | 0.011077 | 0.385 | 0.018273 | 3.799 | 0.022001 | 0.63598 | 0.0019107 | 0.03378 | 0.0088 | 301.0644 | 0.038 | 11.0253 | 0.011 | 0.4005 | 0.017 | 3.8058 | 0.022 | 0.63425 | 0.0017 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.057732 | 0.0001829 | 0.66766 | 1.4147 | 0.0083157 | 2.7728 | 0.016299 | 0.038373 | 3.3762e-06 | 0.034949 | 0.0016591 | 27.078 | 0.027631 | 10.1342 | 0.052521 | 37.4012 | 0.19024 | 26.0464 | 0.13403 | 0.13423 | 0.13126 | 0 | 5.5081e-16 | 1.4915e-14 | NM-263E | 0.0014141 | 3.9697e-07 | 4.1023 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | 0.00218 | 0.02185 | 298.2956 | 0.05099 | 11.0161 | 0.011082 | 0.385 | 0.018273 | 15.5847 | 0.090256 | 0.63598 | 0.0019107 | 0.0021184 | 0.30298 | 0.036906 | 0.10217 | 0.31881 | 0.94729 | 0.0094482 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.013232
| K | 3 | 28.3618 | 1.5905 | 62.0764 | 1.4383 | 0.32079 | 35.7574 | 77.3459 | 26.0855 | 0.11772 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01K | 1111-3-1 | 36 | 2014-02-11 | 15.3 | 3474977000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 3 | 3 | 0 | 3 | 0 | 40 | 40 | 52 |  |  | 0 | 0.00082 | 0.022142 | 408.3722 | 0.058009 | 14.3914 | 0.011077 | 0.5232 | 0.022043 | 5.5818 | 0.020001 | 0.89382 | 0.0022039 | 0.03242 | 0.0095 | 411.141 | 0.047 | 14.4061 | 0.011 | 0.5387 | 0.021 | 5.5886 | 0.02 | 0.88714 | 0.0019 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.062076 | 0.0001603 | 0.69808 | 1.5905 | 0.0058292 | 3.1173 | 0.011425 | 0.039993 | 2.3666e-06 | 0.036337 | 0.0015312 | 28.3618 | 0.022198 | 10.1496 | 0.046131 | 35.7574 | 0.16024 | 26.0855 | 0.11772 | 0.11795 | 0 | 0 | 7.1993e-16 | 2.0419e-14 | NM-263E | 0.0014141 | 3.9697e-07 | 4.1028 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | 0.00082 | 0.022142 | 408.3722 | 0.058009 | 14.3987 | 0.011082 | 0.5232 | 0.022043 | 22.9008 | 0.08206 | 0.89382 | 0.0022039 | 0.002174 | 0.24873 | 0.03523 | 0.078373 | 0.26 | 0.95352 | 0.01036 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.013791
| L | 4 | 30.7361 | 1.5761 | 69.8589 | 0.63588 | 0.32371 | 33.2336 | 80.8161 | 26.2729 | 0.19283 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01L | 1111-3-1 | 36 | 2014-02-11 | 15.7167 | 3474978000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 4 | 4 | 0 | 4 | 0 | 40 | 40 | 52 |  |  | 0 | 0.00717 | 0.02185 | 195.6568 | 0.047381 | 6.3625 | 0.01207 | 0.2563 | 0.022043 | 2.4446 | 0.026001 | 0.4447 | 0.001563 | 0.03877 | 0.0088 | 198.4256 | 0.033 | 6.3772 | 0.012 | 0.2718 | 0.021 | 2.4514 | 0.026 | 0.44664 | 0.0014 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.069859 | 0.000279 | 0.6147 | 1.5761 | 0.017028 | 3.0892 | 0.033375 | 0.047147 | 6.9134e-06 | 0.040263 | 0.0034636 | 30.7361 | 0.058782 | 10.223 | 0.075571 | 33.2336 | 0.23754 | 26.2729 | 0.19283 | 0.19297 | 0.17327 | 0 | 3.1829e-16 | 9.7828e-15 | NM-263E | 0.0014141 | 3.9697e-07 | 4.1042 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | 0.00717 | 0.02185 | 195.6568 | 0.047381 | 6.3657 | 0.012076 | 0.2563 | 0.022043 | 10.033 | 0.10671 | 0.4447 | 0.001563 | 0.0022594 | 0.35454 | 0.032509 | 0.19151 | 0.40146 | 0.87897 | 0.0086443 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.016258
| M | 4.5 | 31.876 | 1.5065 | 74.1502 | 0.24441 | 0.33866 | 31.6257 | 82.1499 | 25.9305 | 0.30585 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01M | 1111-3-1 | 36 | 2014-02-11 | 15.85 | 3474979000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 4.5 | 4.5 | 0 | 4.5 | 0 | 40 | 40 | 52 |  |  | 0 | -0.0167 | 0.022099 | 77.9881 | 0.041617 | 2.4454 | 0.010084 | 0.1125 | 0.022043 | 0.89798 | 0.026001 | 0.18142 | 0.000918 | 0.0149 | 0.0094 | 80.7569 | 0.024 | 2.4601 | 0.01 | 0.128 | 0.021 | 0.9048 | 0.026 | 0.18841 | 0.00078 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.07415 | 0.000484 | 0.55357 | 1.5065 | 0.044062 | 2.9528 | 0.086361 | 0.061415 | 1.79e-05 | 0.045982 | 0.0090116 | 31.876 | 0.13255 | 10.0888 | 0.11984 | 31.6257 | 0.35259 | 25.9305 | 0.30585 | 0.30593 | 0.36243 | 0 | 1.2233e-16 | 3.8994e-15 | NM-263E | 0.0014141 | 3.9697e-07 | 4.1047 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | -0.0167 | 0.022099 | 77.9881 | 0.041617 | 2.4466 | 0.010089 | 0.1125 | 0.022043 | 3.6859 | 0.10672 | 0.18142 | 0.000918 | 0.0023139 | 0.51192 | 0.031347 | 0.41636 | 0.65538 | 0.77251 | 0.013371 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.021178
| N | 7 | 32.9357 | 2.0388 | 77.3776 | 0.55811 | 0.25025 | 31.0584 | 85.1957 | 26.319 | 0.22937 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01N | 1111-3-1 | 36 | 2014-02-11 | 15.9833 | 3474979000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 7 | 7 | 0 | 7 | 0 | 40 | 40 | 52 |  |  | 0 | -0.00796 | 0.021467 | 184.0747 | 0.048795 | 5.5861 | 0.010084 | 0.1803 | 0.020147 | 2.7757 | 0.025001 | 0.43246 | 0.0016528 | 0.02364 | 0.0078 | 186.8435 | 0.035 | 5.6008 | 0.01 | 0.1958 | 0.019 | 2.7825 | 0.025 | 0.43463 | 0.0015 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.077378 | 0.0003271 | 0.71788 | 2.0388 | 0.018729 | 3.996 | 0.036708 | 0.01974 | 7.6038e-06 | 0.03226 | 0.0036052 | 32.9357 | 0.060094 | 10.2411 | 0.089893 | 31.0584 | 0.26689 | 26.319 | 0.22937 | 0.22948 | 0.1685 | 0 | 2.7945e-16 | 9.2037e-15 | NM-263E | 0.0014141 | 3.9697e-07 | 4.1051 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | -0.00796 | 0.021467 | 184.0747 | 0.048795 | 5.5889 | 0.010089 | 0.1803 | 0.020147 | 11.3944 | 0.10263 | 0.43246 | 0.0016528 | 0.002333 | 0.38593 | 0.030327 | 0.18276 | 0.42533 | 0.90304 | 0.0099706 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.0068068
| O | 21 | 33.1815 | 1.6038 | 77.5707 | 2.7128 | 0.31813 | 31.2926 | 100 | 26.7046 | 0.098532 | 40 | Groundmass 3.56 mg | NM-263E | 1 | 0 | 62292-01O | 1111-3-1 | 36 | 2014-02-11 | 16.1333 | 3474980000 |  | gm | 15 | McClaughry |  | 129.138.12.160 | 7.875 | H2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; H1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; AX Baseline = A @ 2/12/14 6:32 AM @ argonlab; L1 Baseline = A @ 2/12/14 6:32 AM @ argonlab; L2 Baseline = A @ 2/12/14 6:32 AM @ argonlab; CDD Baseline = A @ 2 | Groundmass 3.56 mg | ALLLLLAAAAAA | 1 | Pychron Script | 1 | Fusions Diode | 21 | 21 | 0 | 21 | 0 | 40 | 40 | 52 |  |  | 0 | -0.00716 | 0.021578 | 901.1295 | 0.075133 | 27.1439 | 0.01207 | 1.1529 | 0.022043 | 10.6087 | 0.028001 | 2.1066 | 0.0035108 | 0.02444 | 0.0081 | 903.8983 | 0.067 | 27.1586 | 0.012 | 1.1684 | 0.021 | 10.6155 | 0.028 | 2.0767 | 0.0026 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1.0196 | 0.0010907 | 0.0316 | 0.02 | 2.7688 | 0.034 | 0.01471 | 0.0013 | 0.0155 | 0.0067 | 0.006818 | 0.00022 | 0.01047 | 0.00041 | 0.077571 | 0.0001338 | 0.56331 | 1.6038 | 0.0042927 | 3.1434 | 0.0084137 | 0.049294 | 1.7428e-06 | 0.042452 | 0.0008119 | 33.1815 | 0.015012 | 10.3922 | 0.038625 | 31.2926 | 0.1155 | 26.7046 | 0.098532 | 0.098813 | 0 | 0 | 1.3579e-15 | 4.5056e-14 | NM-263E | 0.0014141 | 3.9697e-07 | 4.1056 | 1.0005 | 0.0006863 | 3.6e-06 | 0.00014 | 0 | 0.0002725 | 5e-07 | 0.01077 | 0 | 0.008245 | 6e-05 | 0 | 0 | 250 | 0 | 1.96 | 0 | -0.00716 | 0.021578 | 901.1295 | 0.075133 | 27.1576 | 0.012076 | 1.1529 | 0.022043 | 43.5548 | 0.11496 | 2.1066 | 0.0035108 | 0.0023251 | 0.16782 | 0.030112 | 0.045303 | 0.17342 | 0.9653 | 0.0091507 | 5.463e-10 | 5.81e-11 | 0 | 4.962e-10 | 0.01975 | 5.463e-10 | 7.068e-06 | 5.5305e-10 | 6.308e-09 | 5.543e-10 | 0.01167 | 0 | 295.5 | 0.06 | 1575 | 2 | 0.01077 | 0.016998
| Integrated age ± 1s |  |  | n=15 |  | 18.3242 | 0.37281 |  | K2O=1.40% | 26.2901 | 0.032841 |  |  | NM-263E
| Plateau ± 1s |  | steps G-O | n=9 | MSWD=8.55 | 10.5593 |  |  | 57.6248 | 26.0715 | 0.11426 |  |  | NM-263E
| Isochron±1s |  | steps G-O | n=9 | MSWD=5.71 |  | 40Ar/36Ar= | 299.4±0.7 |  | 25.601 | 0.097658

## Sheet2
1 | PYM-02 | 62135 | 1.1 | 118.0011 | 0.1584 | 0.31679
2 | PYM-05 | 62155 | 1 | 119.048 | 0.1764 | 0.3528
3 | QRR-01 | 62129 | 2.2 | 118.2788 | 0.18185 | 0.36369
4 | QRR-07 | 62149 | 2.1 | 113.611 | 0.2147 | 0.4294
5 | QRR-11 | 62143 | 2 | 115.0775 | 0.19413 | 0.38825
6 | WEH-01 | 62145 | 3.1 | 115.1657 | 0.13665 | 0.2733
7 | WEH-07 | 62153 | 3 | 113.8547 | 0.12391 | 0.24782
8 | SQR-01 | 62131 | 4.1 | 117.9571 | 0.20066 | 0.40132
9 | SQR-05 | 62141 | 4 | 114.3664 | 0.14124 | 0.28248
10 | SBV-02 | 62137 | 5.1 | 112.6038 | 0.19062 | 0.38125
11 | SBV-03 | 62139 | 5 | 117.2941 | 0.2621 | 0.52421
12 | SVP-04 | 62133 | 6.3 | 115.1251 | 0.28557 | 0.57113
13 | SVP-10 | 62157 | 6.2 | 112.917 | 0.19047 | 0.38093
14 | SVP-12 | 62151 | 6.1 | 118.3416 | 0.16696 | 0.33391
15 | SVP-14 | 62147 | 6 | 114.2769 | 0.1206 | 0.24119