## Data Tables
[153 empty] | 0 | 4.0629 | 66.3178 | 0.15047 | 0.15892 | 0.8423 | 304.4876 | 0.0027674 | 0.0033784
[153 empty] | 0.37816 | 4.0629 | 66.3178 | 0.15047 | 0.15892 | 0.84335 | 304.3419 | 0.0027722 | 0.0033767
Procedure Blanks |  | 36Ar | 1s | 37Ar | 1s | 38Ar | 1s | 39Ar | 1s | 40Ar | 1s | Intercept Values |  | 36Ar | 1s | r2 |  |  | 37Ar | 1s | r2 |  |  | 38Ar | 1s | r2 |  |  | 39Ar | 1s | r2 |  |  | 40Ar | 1s | r2 |  |  | Sample Parameters |  | Sample | Material | Location | Analyst | Temp | Standard | %1s | J | %1s | Fract | %1s | Volume Ratio | Sensitivity | Day | Month | Year | Hour | Min | Resist | Irradiation | Project | Standard Name | Irradiation Constants |  | 40/36(a) | %1s | 38/36(a) | %1s | 39/37(ca) | %1s | 38/37(ca) | %1s | 36/37(ca) | %1s | 40/39(k) | %1s | 38/39(k) | %1s | 36/38(cl) | %1s | K/Ca | %1s | K/Cl | %1s | Ca/Cl | %1s | Incremental Heating |  |  | 36Ar(a) | 37Ar(ca) | 38Ar(cl) | 39Ar(k) | 40Ar(r) | Age | ± 2s | 40Ar(r) | 39Ar(k) | K/Ca | ± 2s | Normal Isochron |  |  | 39(k)/36(a) | ± 2s | 40(a+r)/36(a) | ± 2s |  |  | r.i. | Inverse Isochron |  |  | 39(k)/40(a+r) | ± 2s | 36(a)/40(a+r) | ± 2s |  |  | r.i. | Degassing Patterns |  |  | 36Ar(a) | 36Ar(ca) | 36Ar(cl) | 37Ar(ca) | 38Ar(a) | 38Ar(k) | 38Ar(ca) | 38Ar(cl) | 39Ar(k) | 39Ar(ca) | 40Ar(r) | 40Ar(a) | 40Ar(k) | Additional Ratios |  |  | 40(r)/39(k) | 1s | 40(r+a) | 1s | 40Ar/39Ar | 1s | 37Ar/39Ar | 1s | 36Ar/39Ar | 1s | 37Ar(decay) | 39Ar(decay) | 40Ar(moles) | 0.37816 | 51.7046 | -27.9645 | 0.11759 | 0.11157 | 0.84352 | 303.9148 | 0.0027766 | 0.0033719
[46 empty] | (in Ma) | [6 empty] | (mol/vol) | [41 empty] | (Ma) |  | (%) | (%) | [54 empty] | 4.4798 | 51.7046 | -27.9645 | 0.11759 | 0.11157 | 0.84282 | 303.2354 | 0.0027803 | 0.0033643
[153 empty] | 4.4798 | 28.5809 | 36.4728 | 0.070622 | 0.074446 | 0.84129 | 302.35 | 0.0027832 | 0.0033545
04C896 | 500 | 0.00010129 | 9.0636e-06 | 0.0048447 | 3.1343e-05 | 5.347e-05 | 9.3112e-06 | 0.00054625 | 2.1414e-05 | 0.019957 | 7.409e-05 | 04C896 | 500 | 0.036952 | 0.00011575 | 0.97014 | LIN | # 1 3 6 7 | 0.030405 | 7.5622e-05 | 0.79994 | LIN | # 1 4 6 | 0.0081219 | 3.3415e-05 | 0.6813 | LIN | # 1 7 | 0.030832 | 8.2751e-05 | 0.99875 | PAR | # | 10.9108 | 0.0088899 | 0.99649 | PAR | # | 04C896 | 500 | EW-616 | whole rock | Oregon | jh | 500 | 28.03 | 0.01 | 0.003472 | 0.12 | 1.0038 | 0.16 | 1.01 | 1.0121e-19 | 17 | 3 | 2004 | 11 | 48 | 1 | OSU1B04 | Dogami | FCT-3 | 04C896 | 500 | 295.5 | 0 | 0.1869 | 0 | 0.000673 | 0 | 0.000139 | 0 | 0.000264 | 0 | 0.00101 | 0 | 0.01138 | 0 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | 04C896 | 500 | 4 | 0.036641 | 0.084599 | 0.00088201 | 0.030435 | 0.17266 | 35.19 | ± 31.13 | 1.5697 | 0.37816 | 0.15469 | 0.004226 | 04C896 | 500 | 4 | 0.83063 | 0.012931 | 300.2124 | 4.2752 |  |  | 0.90275 | 04C896 | 500 | 4 | 0.0027668 | 1.8535e-05 | 0.003331 | 4.7435e-05 |  |  | 0.027939 | 04C896 | 500 | 4 | 0.036641 | 2.2334e-05 | 1.0054e-07 | 0.084599 | 0.0068481 | 0.00034635 | 1.1759e-05 | 0.00088201 | 0.030435 | 5.6935e-05 | 0.17266 | 10.8273 | 3.0739e-05 | 04C896 | 500 | 4 | 5.6732 | 2.5337 | 10.9999 | 0.0089791 | 360.7528 | 1.2062 | 2.7745 | 0.037893 | 1.2024 | 0.0093512 | 3.3082 | 1.0004 | 1.1133e-18 | 6.6271 | 28.5809 | 36.4728 | 0.070622 | 0.074446 | 0.83903 | 301.3189 | 0.0027849 | 0.003343
04C897 | 650 | 0.00010129 | 9.0636e-06 | 0.0048447 | 3.1343e-05 | 5.347e-05 | 9.3112e-06 | 0.00054625 | 2.1414e-05 | 0.019957 | 7.409e-05 | 04C897 | 650 | 0.036485 | 5.6591e-05 | 0.99656 | EXP | # 1 3 5 8 | 0.025191 | 2.9338e-05 | 0.96671 | EXP | # 1 2 4 7 | 0.0071909 | 2.8059e-05 | 0.029016 | LIN | # 1 | 0.021853 | 3.3341e-05 | 0.99979 | EXP | # | 10.6541 | 0.0057615 | 0.99863 | PAR | # 9 | 04C897 | 650 | EW-616 | whole rock | Oregon | jh | 650 | 28.03 | 0.01 | 0.003472 | 0.12 | 1.0038 | 0.16 | 15.22 | 1.0121e-19 | 17 | 3 | 2004 | 12 | 20 | 1 | OSU1B04 | Dogami | FCT-3 | 04C897 | 650 | 295.5 | 0 | 0.1869 | 0 | 0.000673 | 0 | 0.000139 | 0 | 0.000264 | 0 | 0.00101 | 0 | 0.01138 | 0 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | 04C897 | 650 | 4 | 0.54656 | 1.2388 | 0.0024867 | 0.33011 | 0.62763 | 11.87 | ± 39.83 | 0.3871 | 4.1016 | 0.11458 | 0.0030078 | 04C897 | 650 | 4 | 0.60397 | 0.0083189 | 296.6483 | 3.8813 |  |  | 0.94341 | 04C897 | 650 | 4 | 0.002036 | 9.3016e-06 | 0.003371 | 4.4105e-05 |  |  | 0.019575 | 04C897 | 650 | 4 | 0.54656 | 0.00032704 | 2.8358e-07 | 1.2388 | 0.10215 | 0.0037566 | 0.00017219 | 0.0024867 | 0.33011 | 0.00083372 | 0.62763 | 161.5082 | 0.00033341 | 04C897 | 650 | 4 | 1.9013 | 3.2008 | 162.1358 | 0.08769 | 489.9265 | 1.1164 | 3.7433 | 0.049126 | 1.6525 | 0.011371 | 3.3097 | 1.0004 | 1.641e-17 | 6.6271 | 34.338 | 29.591 | 0.12745 | 0.12089 | 0.83619 | 300.2124 | 0.0027853 | 0.0033307
04C898 | 750 | 0.00010129 | 9.0636e-06 | 0.0048447 | 3.1343e-05 | 5.347e-05 | 9.3112e-06 | 0.00054625 | 2.1414e-05 | 0.019957 | 7.409e-05 | 04C898 | 750 | 0.024657 | 0.00010501 | 0.95279 | LIN | # 1 | 0.31462 | 0.00064183 | 0.98898 | LIN | # 1 | 0.0073925 | 3.8337e-05 | 0.71616 | LIN | # 1 4 | 0.17291 | 0.00015076 | 0.98242 | LIN | # 1 3 | 7.9853 | 0.0045285 | 0.99858 | LIN | # | 04C898 | 750 | EW-616 | whole rock | Oregon | jh | 750 | 28.03 | 0.01 | 0.003472 | 0.12 | 1.0038 | 0.16 | 1.01 | 1.0121e-19 | 17 | 3 | 2004 | 12 | 58 | 1 | OSU1B04 | Dogami | FCT-3 | 04C898 | 750 | 295.5 | 0 | 0.1869 | 0 | 0.000673 | 0 | 0.000139 | 0 | 0.000264 | 0 | 0.00101 | 0 | 0.01138 | 0 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | 04C898 | 750 | 4 | 0.024161 | 1.0245 | 0.00073231 | 0.17282 | 0.90555 | 32.53 | ± 3.95 | 11.2558 | 2.1473 | 0.072534 | 0.0019121 | 04C898 | 750 | 4 | 7.1528 | 0.1137 | 332.9806 | 5.1639 |  |  | 0.97035 | 04C898 | 750 | 4 | 0.021481 | 8.256e-05 | 0.0030032 | 4.6574e-05 |  |  | 0.021697 | 04C898 | 750 | 4 | 0.024161 | 0.00027047 | 8.3547e-08 | 1.0245 | 0.0045156 | 0.0019667 | 0.00014241 | 0.00073231 | 0.17282 | 0.00068949 | 0.90555 | 7.1395 | 0.00017455 | 04C898 | 750 | 4 | 5.24 | 0.32071 | 8.045 | 0.0045744 | 46.3682 | 0.088749 | 5.9047 | 0.077822 | 0.14081 | 0.001107 | 3.3114 | 1.0004 | 8.1428e-19 | 13.0122 | 34.338 | 29.591 | 0.12745 | 0.12089 | 0.83298 | 299.1059 | 0.0027845 | 0.0033185
04C899 | 850 | 0.00010129 | 9.0636e-06 | 0.0048447 | 3.1343e-05 | 5.347e-05 | 9.3112e-06 | 0.00054625 | 2.1414e-05 | 0.019957 | 7.409e-05 | 04C899 | 850 | 0.035193 | 0.00012789 | 0.96551 | LIN | # 1 4 | 0.41524 | 0.00086295 | 0.98836 | EXP | # 1 | 0.012581 | 4.2068e-05 | 0.92487 | LIN | # 1 5 9 | 0.39195 | 0.00042906 | 0.98584 | LIN | # 1 | 12.1362 | 0.0067769 | 0.99842 | LIN | # | 04C899 | 850 | EW-616 | whole rock | Oregon | jh | 850 | 28.03 | 0.01 | 0.003472 | 0.12 | 1.0038 | 0.16 | 1.32 | 1.0121e-19 | 17 | 3 | 2004 | 13 | 36 | 1 | OSU1B04 | Dogami | FCT-3 | 04C899 | 850 | 295.5 | 0 | 0.1869 | 0 | 0.000673 | 0 | 0.000139 | 0 | 0.000264 | 0 | 0.00101 | 0 | 0.01138 | 0 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | 04C899 | 850 | 4 | 0.04519 | 1.7796 | 0.0018875 | 0.51389 | 2.6458 | 31.96 | ± 2.37 | 16.5363 | 6.3852 | 0.12417 | 0.0032792 | 04C899 | 850 | 4 | 11.3718 | 0.1736 | 354.0485 | 5.2415 |  |  | 0.96424 | 04C899 | 850 | 4 | 0.032119 | 0.00012997 | 0.0028245 | 4.1815e-05 |  |  | 0.020874 | 04C899 | 850 | 4 | 0.04519 | 0.00046983 | 2.1543e-07 | 1.7796 | 0.008446 | 0.0058481 | 0.00024737 | 0.0018875 | 0.51389 | 0.0011977 | 2.6458 | 13.3536 | 0.00051903 | 04C899 | 850 | 4 | 5.1486 | 0.19285 | 15.9994 | 0.0089458 | 31.0625 | 0.062707 | 3.455 | 0.045621 | 0.088645 | 0.0006699 | 3.3131 | 1.0004 | 1.6194e-18 | 13.0122 | 30.8912 | 34.3122 | 0.13768 | 0.14518 | 0.82961 | 298.0748 | 0.0027826 | 0.0033071
04C900 | 925 | 0.00010129 | 9.0636e-06 | 0.0048447 | 3.1343e-05 | 5.347e-05 | 9.3112e-06 | 0.00054625 | 2.1414e-05 | 0.019957 | 7.409e-05 | 04C900 | 925 | 0.0066469 | 2.9497e-05 | 0.95932 | LIN | # 1 3 4 9 | 0.10116 | 0.00023204 | 0.98537 | LIN | # 1 | 0.0029325 | 1.0539e-05 | 0.97062 | LIN | # 1 2 3 | 0.10934 | 0.00013426 | 0.99159 | LIN | # 1 4 5 | 2.4794 | 0.0019108 | 0.99639 | LIN | # 9 10 | 04C900 | 925 | EW-616 | whole rock | Oregon | jh | 925 | 28.03 | 0.01 | 0.003472 | 0.12 | 1.0038 | 0.16 | 15.23 | 1.0121e-19 | 17 | 3 | 2004 | 14 | 17 | 1 | OSU1B04 | Dogami | FCT-3 | 04C900 | 925 | 295.5 | 0 | 0.1869 | 0 | 0.000673 | 0 | 0.000139 | 0 | 0.000264 | 0 | 0.00101 | 0 | 0.01138 | 0 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | 04C900 | 925 | 4 | 0.098288 | 5.034 | 0.0063595 | 1.6557 | 8.6961 | 32.60 | ± 1.71 | 23.041 | 20.5727 | 0.14143 | 0.0037494 | 04C900 | 925 | 4 | 16.8457 | 0.27274 | 383.9758 | 6.0488 |  |  | 0.96367 | 04C900 | 925 | 4 | 0.043872 | 0.00018984 | 0.0026043 | 4.1027e-05 |  |  | 0.034891 | 04C900 | 925 | 4 | 0.098288 | 0.001329 | 7.262e-07 | 5.034 | 0.01837 | 0.018842 | 0.00069973 | 0.0063595 | 1.6557 | 0.0033879 | 8.6961 | 29.044 | 0.0016723 | 04C900 | 925 | 4 | 5.2521 | 0.13903 | 37.7401 | 0.029101 | 22.7482 | 0.049125 | 3.0342 | 0.040217 | 0.060043 | 0.0004798 | 3.315 | 1.0004 | 3.82e-18 | 33.5849 | 30.8912 | 34.3122 | 0.13768 | 0.14518 | 0.82631 | 297.1893 | 0.0027795 | 0.0032973
04C901 | 975 | 0.00010129 | 9.0636e-06 | 0.0048447 | 3.1343e-05 | 5.347e-05 | 9.3112e-06 | 0.00054625 | 2.1414e-05 | 0.019957 | 7.409e-05 | 04C901 | 975 | 0.029936 | 0.00016394 | 0.93609 | LIN | # 1 | 1.0569 | 0.0013403 | 0.99628 | LIN | # 1 | 0.018208 | 5.3283e-05 | 0.9614 | LIN | # 1 3 | 0.79865 | 0.00075936 | 0.99632 | LIN | # 1 8 | 12.3519 | 0.014726 | 0.99481 | LIN | # 1 | 04C901 | 975 | EW-616 | whole rock | Oregon | jh | 975 | 28.03 | 0.01 | 0.003472 | 0.12 | 1.0038 | 0.16 | 1.63 | 1.0121e-19 | 17 | 3 | 2004 | 15 | 3 | 1 | OSU1B04 | Dogami | FCT-3 | 04C901 | 975 | 295.5 | 0 | 0.1869 | 0 | 0.000673 | 0 | 0.000139 | 0 | 0.000264 | 0 | 0.00101 | 0 | 0.01138 | 0 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | 04C901 | 975 | 4 | 0.046477 | 5.6339 | 0.0052166 | 1.2931 | 6.3785 | 30.64 | ± 1.16 | 31.7123 | 16.0669 | 0.098694 | 0.0025855 | 04C901 | 975 | 4 | 27.8225 | 0.49277 | 432.7413 | 7.563 |  |  | 0.96836 | 04C901 | 975 | 4 | 0.064294 | 0.00028496 | 0.0023108 | 4.0386e-05 |  |  | 0.07355 | 04C901 | 975 | 4 | 0.046477 | 0.0014874 | 5.96e-07 | 5.6339 | 0.0086865 | 0.014715 | 0.00078312 | 0.0052166 | 1.2931 | 0.0037916 | 6.3785 | 13.7339 | 0.001306 | 04C901 | 975 | 4 | 4.9327 | 0.094247 | 20.1124 | 0.024003 | 15.5092 | 0.034293 | 4.3442 | 0.0569 | 0.036984 | 0.00031743 | 3.3171 | 1.0004 | 2.0358e-18 | 33.5849 | 31.7967 | 29.4751 | 0.10128 | 0.096108 | 0.8233 | 296.5099 | 0.0027755 | 0.0032898
04C902 | 1025 | 0.00010129 | 9.0636e-06 | 0.0048447 | 3.1343e-05 | 5.347e-05 | 9.3112e-06 | 0.00054625 | 2.1414e-05 | 0.019957 | 7.409e-05 | 04C902 | 1025 | 0.028244 | 0.0002094 | 0.85868 | LIN | # 1 | 1.3193 | 0.0017394 | 0.99594 | LIN | # 1 | 0.022331 | 7.2841e-05 | 0.92886 | LIN | # 1 9 | 0.90432 | 0.0010082 | 0.99399 | LIN | # 1 | 12.4197 | 0.0078139 | 0.99798 | LIN | # | 04C902 | 1025 | EW-616 | whole rock | Oregon | jh | 1025 | 28.03 | 0.01 | 0.003472 | 0.12 | 1.0038 | 0.16 | 1.29 | 1.0121e-19 | 17 | 3 | 2004 | 15 | 40 | 1 | OSU1B04 | Dogami | FCT-3 | 04C902 | 1025 | 295.5 | 0 | 0.1869 | 0 | 0.000673 | 0 | 0.000139 | 0 | 0.000264 | 0 | 0.00101 | 0 | 0.01138 | 0 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | 04C902 | 1025 | 4 | 0.034318 | 5.5687 | 0.0081661 | 1.1584 | 5.8592 | 31.41 | ± 1.11 | 36.6166 | 14.3928 | 0.089446 | 0.0023473 | 04C902 | 1025 | 4 | 33.7535 | 0.70114 | 466.2298 | 9.5294 |  |  | 0.98022 | 04C902 | 1025 | 4 | 0.072397 | 0.00029772 | 0.0021449 | 4.3839e-05 |  |  | 0.018889 | 04C902 | 1025 | 4 | 0.034318 | 0.0014701 | 9.3338e-07 | 5.5687 | 0.0064141 | 0.013182 | 0.00077405 | 0.0081661 | 1.1584 | 0.0037477 | 5.8592 | 10.1411 | 0.0011699 | 04C902 | 1025 | 4 | 5.0581 | 0.090266 | 16.0002 | 0.01008 | 13.7693 | 0.028223 | 4.7919 | 0.062872 | 0.030797 | 0.00030671 | 3.3187 | 1.0004 | 1.6196e-18 | 49.6518 | 31.7967 | 29.4751 | 0.10128 | 0.096108 | 0.8208 | 296.0828 | 0.002771 | 0.0032851
04C903 | 1075 | 0.00010129 | 9.0636e-06 | 0.0048447 | 3.1343e-05 | 5.347e-05 | 9.3112e-06 | 0.00054625 | 2.1414e-05 | 0.019957 | 7.409e-05 | 04C903 | 1075 | 0.027283 | 0.00010179 | 0.96607 | LIN | # 1 4 | 1.3073 | 0.0042533 | 0.97006 | LIN | # 1 | 0.030485 | 0.0001381 | 0.92795 | LIN | # 1 | 1.0193 | 0.0010129 | 0.99575 | LIN | # 1 | 12.7107 | 0.010767 | 0.99636 | LIN | # | 04C903 | 1075 | EW-616 | whole rock | Oregon | jh | 1075 | 28.03 | 0.01 | 0.003472 | 0.12 | 1.0038 | 0.16 | 1.01 | 1.0121e-19 | 17 | 3 | 2004 | 16 | 15 | 1 | OSU1B04 | Dogami | FCT-3 | 04C903 | 1075 | 295.5 | 0 | 0.1869 | 0 | 0.000673 | 0 | 0.000139 | 0 | 0.000264 | 0 | 0.00101 | 0 | 0.01138 | 0 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | 04C903 | 1075 | 4 | 0.025901 | 4.3187 | 0.013426 | 1.0226 | 5.1629 | 31.35 | ± 0.73 | 40.2793 | 12.706 | 0.10182 | 0.0027392 | 04C903 | 1075 | 4 | 39.4806 | 0.6266 | 494.8304 | 7.6737 |  |  | 0.9654 | 04C903 | 1075 | 4 | 0.079786 | 0.00033053 | 0.0020209 | 3.134e-05 |  |  | 0.044826 | 04C903 | 1075 | 4 | 0.025901 | 0.0011401 | 1.5352e-06 | 4.3187 | 0.004841 | 0.011637 | 0.0006003 | 0.013426 | 1.0226 | 0.0029065 | 5.1629 | 7.6539 | 0.0010328 | 04C903 | 1075 | 4 | 5.0488 | 0.05943 | 12.8168 | 0.010875 | 12.499 | 0.025824 | 4.2113 | 0.056646 | 0.02637 | 0.00020036 | 3.3203 | 1.0004 | 1.2973e-18 | 49.6518 | 30.2967 | 32.5193 | 0.087098 | 0.091793 | 0.81896 | 295.9372 | 0.0027662 | 0.0032835
04C904 | 1125 | 0.00010129 | 9.0636e-06 | 0.0048447 | 3.1343e-05 | 5.347e-05 | 9.3112e-06 | 0.00054625 | 2.1414e-05 | 0.019957 | 7.409e-05 | 04C904 | 1125 | 0.010185 | 6.2836e-05 | 0.89267 | LIN | # 1 | 0.54974 | 0.001909 | 0.97741 | LIN | # 1 | 0.015216 | 0.00010342 | 0.83418 | LIN | # 1 | 0.41315 | 0.00046161 | 0.99612 | LIN | # 1 4 | 4.8925 | 0.0028832 | 0.99851 | LIN | # | 04C904 | 1125 | EW-616 | whole rock | Oregon | jh | 1125 | 28.03 | 0.01 | 0.003472 | 0.12 | 1.0038 | 0.16 | 1.01 | 1.0121e-19 | 17 | 3 | 2004 | 16 | 52 | 1 | OSU1B04 | Dogami | FCT-3 | 04C904 | 1125 | 295.5 | 0 | 0.1869 | 0 | 0.000673 | 0 | 0.000139 | 0 | 0.000264 | 0 | 0.00101 | 0 | 0.01138 | 0 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | 04C904 | 1125 | 4 | 0.0095545 | 1.8078 | 0.0084493 | 0.41411 | 2.0977 | 31.45 | ± 0.80 | 42.6233 | 5.1454 | 0.098499 | 0.0026645 | 04C904 | 1125 | 4 | 43.3425 | 0.83201 | 515.0498 | 9.698 |  |  | 0.97701 | 04C904 | 1125 | 4 | 0.084152 | 0.00034446 | 0.0019416 | 3.6558e-05 |  |  | 0.018185 | 04C904 | 1125 | 4 | 0.0095545 | 0.00047726 | 9.6654e-07 | 1.8078 | 0.0017857 | 0.0047126 | 0.00025129 | 0.0084493 | 0.41411 | 0.0012167 | 2.0977 | 2.8233 | 0.00041826 | 04C904 | 1125 | 4 | 5.0655 | 0.065204 | 4.921 | 0.002913 | 11.8494 | 0.024182 | 4.3527 | 0.05887 | 0.024156 | 0.0002207 | 3.322 | 1.0004 | 4.9812e-19 | 64.0447 | 30.2967 | 32.5193 | 0.087098 | 0.091793 | 0.81792 | 296.0828 | 0.0027614 | 0.0032852
04C905 | 1200 | 0.00019682 | 1.1374e-05 | 0.017765 | 3.7562e-05 | 0.00012238 | 9.5458e-06 | 0.0018383 | 1.958e-05 | 0.042527 | 6.6328e-05 | 04C905 | 1200 | 0.0021534 | 2.1723e-05 | 0.71649 | LIN | # 1 10 | 0.42194 | 0.0011787 | 0.98556 | LIN | # 1 5 | 0.0058187 | 2.0375e-05 | 0.93445 | LIN | # 1 | 0.09683 | 0.00017944 | 0.98509 | LIN | # 1 5 | 0.98121 | 0.00086954 | 0.99604 | LIN | # | 04C905 | 1200 | EW-616 | whole rock | Oregon | jh | 1200 | 28.03 | 0.01 | 0.003472 | 0.12 | 1.0038 | 0.16 | 1.01 | 1.0121e-19 | 18 | 3 | 2004 | 10 | 2 | 1 | OSU1B04 | Dogami | FCT-3 | 04C905 | 1200 | 295.5 | 0 | 0.1869 | 0 | 0.000673 | 0 | 0.000139 | 0 | 0.000264 | 0 | 0.00101 | 0 | 0.01138 | 0 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | 04C905 | 1200 | 4 | 0.0015889 | 1.3605 | 0.0041471 | 0.094722 | 0.47888 | 31.39 | ± 1.08 | 50.4886 | 1.1769 | 0.029938 | 0.00081453 | 04C905 | 1200 | 4 | 59.6156 | 2.1006 | 596.8941 | 20.8473 |  |  | 0.98839 | 04C905 | 1200 | 4 | 0.099876 | 0.00053478 | 0.0016753 | 5.8513e-05 |  |  | 0.018446 | 04C905 | 1200 | 4 | 0.0015889 | 0.00035917 | 4.8001e-07 | 1.3605 | 0.00029696 | 0.0010779 | 0.00018911 | 0.0041471 | 0.094722 | 0.00091561 | 0.47888 | 0.46952 | 9.567e-05 | 04C905 | 1200 | 4 | 5.0556 | 0.087858 | 0.9484 | 0.00088073 | 9.9175 | 0.026297 | 14.2254 | 0.19344 | 0.020374 | 0.00028978 | 3.3693 | 1.0004 | 9.6e-20 | 64.0447 | 32.0823 | 30.6189 | 0.10456 | 0.099077 | 0.81774 | 296.5099 | 0.002757 | 0.00329
04C906 | 1400 | 0.00019682 | 1.1374e-05 | 0.017765 | 3.7562e-05 | 0.00012238 | 9.5458e-06 | 0.0018383 | 1.958e-05 | 0.042527 | 6.6328e-05 | 04C906 | 1400 | 0.033839 | 0.0002202 | 0.93297 | LIN | # 1 4 6 10 | 6.4385 | 0.017998 | 0.98653 | LIN | # 1 2 | 0.052388 | 0.00024214 | 0.88354 | LIN | # 1 | 0.93308 | 0.00083668 | 0.99576 | LIN | # 2 | 12.7748 | 0.0093158 | 0.99786 | LIN | # 6 | 04C906 | 1400 | EW-616 | whole rock | Oregon | jh | 1400 | 28.03 | 0.01 | 0.003472 | 0.12 | 1.0038 | 0.16 | 1.49 | 1.0121e-19 | 18 | 3 | 2004 | 10 | 26 | 1 | OSU1B04 | Dogami | FCT-3 | 04C906 | 1400 | 295.5 | 0 | 0.1869 | 0 | 0.000673 | 0 | 0.000139 | 0 | 0.000264 | 0 | 0.00101 | 0 | 0.01138 | 0 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | 04C906 | 1400 | 4 | 0.041041 | 31.9098 | 0.049739 | 1.3623 | 6.8629 | 31.28 | ± 1.25 | 36.1359 | 16.927 | 0.018358 | 0.00049489 | 04C906 | 1400 | 4 | 33.1939 | 0.7607 | 462.7202 | 10.4829 |  |  | 0.98446 | 04C906 | 1400 | 4 | 0.071736 | 0.0002888 | 0.0021611 | 4.896e-05 |  |  | 0.023431 | 04C906 | 1400 | 4 | 0.041041 | 0.0084242 | 5.7586e-06 | 31.9098 | 0.0076706 | 0.015503 | 0.0044355 | 0.049739 | 1.3623 | 0.021475 | 6.8629 | 12.1276 | 0.0013759 | 04C906 | 1400 | 4 | 5.0377 | 0.10158 | 18.9905 | 0.013881 | 13.7246 | 0.027106 | 23.0598 | 0.31069 | 0.03575 | 0.00033181 | 3.3704 | 1.0004 | 1.9222e-18 | 76.7507 | 32.0823 | 30.6189 | 0.10456 | 0.099077 | 0.81844 | 297.1894 | 0.0027533 | 0.0032976
[153 empty] | 76.7507 | 30.6503 | 32.2557 | 0.095835 | 0.10116 | 0.81998 | 298.0748 | 0.0027505 | 0.0033075
[153 empty] | 81.8961 | 30.6503 | 32.2557 | 0.095835 | 0.10116 | 0.82224 | 299.1059 | 0.0027488 | 0.0033189
[89 empty] | S | 0.90972 | 59.7611 | 0.10149 | 8.0482 | 39.8878 | [28 empty] | S | 0.90972 | 0.015777 | 1.1679e-05 | 59.7611 | 0.17003 | 0.091588 | 0.0083068 | 0.10149 | 8.0482 | 0.040219 | 39.8878 | 268.8218 | 0.0081287 | [16 empty] | 81.8961 | 32.4741 | 30.3108 | 0.030753 | 0.029124 | 0.82507 | 300.2124 | 0.0027483 | 0.0033312
[153 empty] | 83.073 | 32.4741 | 30.3108 | 0.030753 | 0.029124 | 0.82828 | 301.3189 | 0.0027491 | 0.0033435
[153 empty] | 83.073 | 30.0313 | 32.5327 | 0.017863 | 0.018853 | 0.83165 | 302.35 | 0.0027511 | 0.0033549
[123 empty] | S |  |  | 0.92551 | 59.7611 |  |  |  | 0.37141 |  | 8.0884 |  |  | 308.7177 | [16 empty] | 100 | 30.0313 | 32.5327 | 0.017863 | 0.018853 | 0.83495 | 303.2354 | 0.0027541 | 0.0033647
[87 empty] | Information on Analysis |  |  |  | Results |  | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | 39Ar(k) | K/Ca | ± 2s | Results |  |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | Results |  |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | [37 empty] | 0.83796 | 303.9148 | 0.0027581 | 0.0033722
[95 empty] | (Ma) |  |  | (%,n) | [9 empty] | (Ma) | [9 empty] | (Ma) | [39 empty] | 0.84047 | 304.3419 | 0.0027626 | 0.0033769
[158 empty] | 0.8423 | 304.4876 | 0.0027674 | 0.0033784
[87 empty] | Sample | EW-616 |  |  | Weighted Plateau |  | 5.055 | 0.061179 | 31.39 | ± 0.38 | 0.53583 | 100 | 0.035486 | 0.020159 | Isochron |  |  | 295.7004 | 2.2814 | 5.0482 | 0.092499 | 31.35 | ± 0.57 | 0.59206 | Isochron |  |  | 295.7355 | 2.283 | 5.0479 | 0.092562 | 31.34 | ± 0.57 | 0.59058
[87 empty] | Material | whole rock | [5 empty] | 1.21% |  | 1.223% |  | 11 | [6 empty] | 0.7715% |  | 1.832% |  | 1.832% | [5 empty] | 0.772% |  | 1.834% |  | 1.833% | [38 empty] | 0.61182 | 300.5296 | 0.0020362 | 0.0034151
[87 empty] | Location | Oregon |  |  | External Error |  |  |  |  | ± 0.63 | 2.2281 | Statistical T ratio |  |  | External Error | [7 empty] | ± 0.76 |  | External Error | [7 empty] | ± 0.76 | [38 empty] | 0.61227 | 300.3973 | 0.0020386 | 0.0034136
[87 empty] | Analyst | jh |  |  | Analytical Error |  |  |  |  | ± 0.38 | 1 | Error Magnification |  |  | Analytical Error | [7 empty] | ± 0.57 |  | Analytical Error | [7 empty] | ± 0.57 | [38 empty] | 0.61215 | 300.0096 | 0.0020408 | 0.0034092
[158 empty] | 0.61147 | 299.3928 | 0.0020427 | 0.0034022
[158 empty] | 0.61028 | 298.5889 | 0.0020441 | 0.003393
[87 empty] | Project | Dogami |  |  | Total Fusion Age |  | 4.9561 | 0.27645 | 30.78 | ± 1.70 |  | 11 | 0.057909 | 0.00087414 | [57 empty] | 0.60867 | 297.6529 | 0.002045 | 0.0033824
[87 empty] | Irradiation | OSU1B04 | [5 empty] | 5.578% |  | 5.536% |  |  |  |  | Statistics |  |  | Statistical F ratio | 1.8799 |  | Convergence | 3.7664e-08 |  |  | Statistics |  |  | Statistical F ratio | 1.8799 |  | Convergence | 1.652e-07 | [39 empty] | 0.60673 | 296.6483 | 0.0020453 | 0.003371
[87 empty] | J-value | 0.003472 |  |  | External Error |  |  |  |  | ± 1.77 | [7 empty] | Error Magnification | 1 |  | Number of Iterations | 14 | [5 empty] | Error Magnification | 1 |  | Number of Iterations | 3 | [39 empty] | 0.6046 | 295.6438 | 0.0020449 | 0.0033595
[87 empty] | Standard | 28.03 |  |  | Analytical Error |  |  |  |  | ± 1.70 | [7 empty] | n | 11 |  | Calculated Line | Weighted York-2 | [5 empty] | n | 11 |  | Calculated Line | Weighted York-2 | [39 empty] | 0.60244 | 294.7077 | 0.0020439 | 0.0033489
[158 empty] | 0.60037 | 293.9039 | 0.0020424 | 0.0033398
[158 empty] | 0.59855 | 293.2871 | 0.0020405 | 0.0033328
[158 empty] | 0.5971 | 292.8993 | 0.0020382 | 0.0033284
[158 empty] | 0.59612 | 292.7671 | 0.0020358 | 0.0033269
[158 empty] | 0.59568 | 292.8993 | 0.0020334 | 0.0033284
[158 empty] | 0.5958 | 293.2871 | 0.0020312 | 0.0033328
[158 empty] | 0.59647 | 293.9039 | 0.0020293 | 0.0033398
[158 empty] | 0.59766 | 294.7077 | 0.0020278 | 0.003349
[158 empty] | 0.59928 | 295.6438 | 0.002027 | 0.0033596
[158 empty] | 0.60121 | 296.6483 | 0.0020267 | 0.003371
[158 empty] | 0.60334 | 297.6529 | 0.0020271 | 0.0033824
[158 empty] | 0.60551 | 298.589 | 0.002028 | 0.0033931
[158 empty] | 0.60757 | 299.3928 | 0.0020295 | 0.0034022
[158 empty] | 0.60939 | 300.0096 | 0.0020315 | 0.0034092
[158 empty] | 0.61084 | 300.3973 | 0.0020338 | 0.0034136
[158 empty] | 0.61182 | 300.5296 | 0.0020362 | 0.0034151
[158 empty] | 7.2632 | 338.1445 | 0.021564 | 0.0030047
[158 empty] | 7.2665 | 337.9683 | 0.021561 | 0.0029926
[158 empty] | 7.2621 | 337.4523 | 0.021553 | 0.0029812
[158 empty] | 7.2503 | 336.6316 | 0.02154 | 0.0029713
[158 empty] | 7.2318 | 335.562 | 0.021523 | 0.0029636
[158 empty] | 7.2079 | 334.3165 | 0.021503 | 0.0029586
[158 empty] | 7.1803 | 332.98 | 0.021482 | 0.0029566
[158 empty] | 7.1508 | 331.6435 | 0.021461 | 0.0029578
[158 empty] | 7.1215 | 330.3981 | 0.021441 | 0.0029621
[158 empty] | 7.0942 | 329.3287 | 0.021423 | 0.0029692
[158 empty] | 7.071 | 328.5082 | 0.02141 | 0.0029786
[158 empty] | 7.0534 | 327.9925 | 0.021402 | 0.0029897
[158 empty] | 7.0425 | 327.8167 | 0.021399 | 0.0030017
[158 empty] | 7.0392 | 327.9928 | 0.021401 | 0.0030138
[158 empty] | 7.0436 | 328.5088 | 0.021409 | 0.0030252
[158 empty] | 7.0554 | 329.3296 | 0.021422 | 0.003035
[158 empty] | 7.0739 | 330.3991 | 0.021439 | 0.0030428
[158 empty] | 7.0977 | 331.6446 | 0.021459 | 0.0030478
[158 empty] | 7.1254 | 332.9811 | 0.02148 | 0.0030497
[158 empty] | 7.1549 | 334.3176 | 0.021502 | 0.0030485
[158 empty] | 7.1842 | 335.563 | 0.021522 | 0.0030442
[158 empty] | 7.2114 | 336.6324 | 0.021539 | 0.0030371
[158 empty] | 7.2347 | 337.4529 | 0.021552 | 0.0030277
[158 empty] | 7.2523 | 337.9686 | 0.021561 | 0.0030167
[158 empty] | 7.2632 | 338.1445 | 0.021564 | 0.0030047
[158 empty] | 11.5392 | 359.29 | 0.032249 | 0.0028254
[158 empty] | 11.5454 | 359.111 | 0.032245 | 0.0028146
[158 empty] | 11.5398 | 358.5871 | 0.032232 | 0.0028044
[158 empty] | 11.5227 | 357.7538 | 0.032212 | 0.0027956
[158 empty] | 11.4953 | 356.668 | 0.032185 | 0.0027888
[158 empty] | 11.4595 | 355.4037 | 0.032153 | 0.0027843
[158 empty] | 11.4178 | 354.047 | 0.03212 | 0.0027827
[158 empty] | 11.3729 | 352.6905 | 0.032086 | 0.0027838
[158 empty] | 11.3279 | 351.4264 | 0.032055 | 0.0027878
[158 empty] | 11.2859 | 350.3411 | 0.032028 | 0.0027942
[158 empty] | 11.2498 | 349.5085 | 0.032007 | 0.0028027
[158 empty] | 11.222 | 348.9852 | 0.031994 | 0.0028127
[158 empty] | 11.2044 | 348.807 | 0.031989 | 0.0028235
[158 empty] | 11.1982 | 348.9859 | 0.031994 | 0.0028344
[158 empty] | 11.2039 | 349.5099 | 0.032007 | 0.0028445
[158 empty] | 11.2209 | 350.3432 | 0.032027 | 0.0028533
[158 empty] | 11.2483 | 351.429 | 0.032054 | 0.0028602
[158 empty] | 11.2841 | 352.6933 | 0.032085 | 0.0028646
[158 empty] | 11.3259 | 354.05 | 0.032119 | 0.0028663
[158 empty] | 11.3708 | 355.4065 | 0.032153 | 0.0028651
[158 empty] | 11.4157 | 356.6705 | 0.032184 | 0.0028612
[158 empty] | 11.4577 | 357.7558 | 0.032211 | 0.0028547
[158 empty] | 11.4938 | 358.5885 | 0.032232 | 0.0028462
[158 empty] | 11.5216 | 359.1118 | 0.032245 | 0.0028362
[158 empty] | 11.5392 | 359.29 | 0.032249 | 0.0028254
[158 empty] | 17.1086 | 390.0246 | 0.044062 | 0.0026058
[158 empty] | 17.1184 | 389.8177 | 0.044055 | 0.0025952
[158 empty] | 17.1097 | 389.2126 | 0.044036 | 0.0025851
[158 empty] | 17.083 | 388.2507 | 0.044006 | 0.0025764
[158 empty] | 17.0401 | 386.9974 | 0.043967 | 0.0025696
[158 empty] | 16.984 | 385.5383 | 0.043921 | 0.0025651
[158 empty] | 16.9184 | 383.9726 | 0.043872 | 0.0025633
[158 empty] | 16.8479 | 382.4071 | 0.043823 | 0.0025643
[158 empty] | 16.7772 | 380.9486 | 0.043777 | 0.0025681
[158 empty] | 16.7112 | 379.6963 | 0.043738 | 0.0025743
[158 empty] | 16.6544 | 378.7357 | 0.043707 | 0.0025825
[158 empty] | 16.6106 | 378.1322 | 0.043688 | 0.0025923
[158 empty] | 16.5828 | 377.9269 | 0.043682 | 0.0026028
[158 empty] | 16.573 | 378.1338 | 0.043688 | 0.0026135
[158 empty] | 16.5817 | 378.7389 | 0.043707 | 0.0026235
[158 empty] | 16.6084 | 379.7008 | 0.043737 | 0.0026323
[158 empty] | 16.6513 | 380.9541 | 0.043777 | 0.0026391
[158 empty] | 16.7074 | 382.4132 | 0.043822 | 0.0026435
[158 empty] | 16.773 | 383.9789 | 0.043871 | 0.0026453
[158 empty] | 16.8435 | 385.5444 | 0.043921 | 0.0026443
[158 empty] | 16.9141 | 387.0029 | 0.043966 | 0.0026406
[158 empty] | 16.9801 | 388.2552 | 0.044006 | 0.0026344
[158 empty] | 17.037 | 389.2158 | 0.044036 | 0.0026261
[158 empty] | 17.0808 | 389.8193 | 0.044055 | 0.0026164
[158 empty] | 17.1086 | 390.0246 | 0.044062 | 0.0026058
[158 empty] | 28.2998 | 440.3043 | 0.064579 | 0.0023139
[158 empty] | 28.3152 | 440.0446 | 0.064569 | 0.0023034
[158 empty] | 28.2971 | 439.2872 | 0.064541 | 0.0022933
[158 empty] | 28.2466 | 438.0837 | 0.064495 | 0.0022845
[158 empty] | 28.1672 | 436.5161 | 0.064436 | 0.0022775
[158 empty] | 28.0643 | 434.6913 | 0.064368 | 0.0022727
[158 empty] | 27.945 | 432.7336 | 0.064294 | 0.0022706
[158 empty] | 27.8173 | 430.7764 | 0.06422 | 0.0022712
[158 empty] | 27.6899 | 428.9532 | 0.064151 | 0.0022745
[158 empty] | 27.5716 | 427.388 | 0.064092 | 0.0022802
[158 empty] | 27.4704 | 426.1877 | 0.064047 | 0.0022881
[158 empty] | 27.3931 | 425.4341 | 0.064018 | 0.0022975
[158 empty] | 27.3452 | 425.1784 | 0.064009 | 0.0023078
[158 empty] | 27.3297 | 425.4381 | 0.064018 | 0.0023183
[158 empty] | 27.3479 | 426.1955 | 0.064047 | 0.0023284
[158 empty] | 27.3984 | 427.399 | 0.064092 | 0.0023372
[158 empty] | 27.4777 | 428.9665 | 0.064151 | 0.0023442
[158 empty] | 27.5806 | 430.7914 | 0.064219 | 0.002349
[158 empty] | 27.7 | 432.7491 | 0.064293 | 0.0023511
[158 empty] | 27.8277 | 434.7062 | 0.064367 | 0.0023505
[158 empty] | 27.9551 | 436.5295 | 0.064436 | 0.0023472
[158 empty] | 28.0734 | 438.0946 | 0.064495 | 0.0023415
[158 empty] | 28.1746 | 439.2949 | 0.06454 | 0.0023336
[158 empty] | 28.2518 | 440.0486 | 0.064569 | 0.0023242
[158 empty] | 28.2998 | 440.3043 | 0.064579 | 0.0023139
[158 empty] | 34.4409 | 475.7592 | 0.072694 | 0.0021457
[158 empty] | 34.4532 | 475.4319 | 0.072684 | 0.0021343
[158 empty] | 34.4178 | 474.4775 | 0.072655 | 0.0021237
[158 empty] | 34.3372 | 472.961 | 0.072607 | 0.0021145
[158 empty] | 34.2167 | 470.9859 | 0.072546 | 0.0021073
[158 empty] | 34.0647 | 468.6866 | 0.072474 | 0.0021027
[158 empty] | 33.8915 | 466.2199 | 0.072397 | 0.002101
[158 empty] | 33.7089 | 463.7538 | 0.07232 | 0.0021023
[158 empty] | 33.5293 | 461.4565 | 0.072248 | 0.0021065
[158 empty] | 33.365 | 459.4845 | 0.072186 | 0.0021133
[158 empty] | 33.2272 | 457.9722 | 0.072139 | 0.0021222
[158 empty] | 33.1252 | 457.0226 | 0.072109 | 0.0021327
[158 empty] | 33.066 | 456.7005 | 0.072099 | 0.002144
[158 empty] | 33.0537 | 457.0277 | 0.072109 | 0.0021554
[158 empty] | 33.0891 | 457.9821 | 0.072139 | 0.002166
[158 empty] | 33.1698 | 459.4986 | 0.072186 | 0.0021753
[158 empty] | 33.2902 | 461.4738 | 0.072248 | 0.0021824
[158 empty] | 33.4422 | 463.7731 | 0.072319 | 0.002187
[158 empty] | 33.6154 | 466.2398 | 0.072396 | 0.0021887
[158 empty] | 33.798 | 468.7058 | 0.072474 | 0.0021874
[158 empty] | 33.9776 | 471.0031 | 0.072545 | 0.0021832
[158 empty] | 34.1419 | 472.9751 | 0.072607 | 0.0021765
[158 empty] | 34.2797 | 474.4875 | 0.072654 | 0.0021675
[158 empty] | 34.3817 | 475.437 | 0.072684 | 0.002157
[158 empty] | 34.4409 | 475.7592 | 0.072694 | 0.0021457
[158 empty] | 40.0858 | 502.5041 | 0.080117 | 0.0020223
[158 empty] | 40.1072 | 502.2393 | 0.080105 | 0.0020142
[158 empty] | 40.0859 | 501.4696 | 0.080072 | 0.0020065
[158 empty] | 40.0234 | 500.2475 | 0.08002 | 0.0019998
[158 empty] | 39.9238 | 498.6561 | 0.079952 | 0.0019945
[158 empty] | 39.7941 | 496.8041 | 0.079872 | 0.001991
[158 empty] | 39.643 | 494.8176 | 0.079786 | 0.0019896
[158 empty] | 39.4808 | 492.8319 | 0.079701 | 0.0019903
[158 empty] | 39.3186 | 490.9824 | 0.079621 | 0.0019931
[158 empty] | 39.1675 | 489.3952 | 0.079552 | 0.0019978
[158 empty] | 39.0377 | 488.1783 | 0.0795 | 0.002004
[158 empty] | 38.938 | 487.4148 | 0.079467 | 0.0020114
[158 empty] | 38.8754 | 487.1566 | 0.079456 | 0.0020195
[158 empty] | 38.854 | 487.4214 | 0.079467 | 0.0020276
[158 empty] | 38.8753 | 488.1911 | 0.0795 | 0.0020353
[158 empty] | 38.9378 | 489.4133 | 0.079552 | 0.002042
[158 empty] | 39.0374 | 491.0046 | 0.079621 | 0.0020473
[158 empty] | 39.1671 | 492.8566 | 0.0797 | 0.0020508
[158 empty] | 39.3182 | 494.8432 | 0.079786 | 0.0020522
[158 empty] | 39.4804 | 496.8288 | 0.079872 | 0.0020515
[158 empty] | 39.6426 | 498.6783 | 0.079951 | 0.0020487
[158 empty] | 39.7937 | 500.2656 | 0.08002 | 0.002044
[158 empty] | 39.9235 | 501.4824 | 0.080072 | 0.0020378
[158 empty] | 40.0231 | 502.2459 | 0.080105 | 0.0020304
[158 empty] | 40.0858 | 502.5041 | 0.080117 | 0.0020223
[158 empty] | 44.1557 | 524.7477 | 0.084497 | 0.0019422
[158 empty] | 44.1736 | 524.4134 | 0.084485 | 0.0019327
[158 empty] | 44.1348 | 523.4411 | 0.08445 | 0.0019239
[158 empty] | 44.0421 | 521.8968 | 0.084396 | 0.0019162
[158 empty] | 43.9017 | 519.886 | 0.084324 | 0.0019102
[158 empty] | 43.7231 | 517.5455 | 0.084241 | 0.0019064
[158 empty] | 43.5187 | 515.035 | 0.084152 | 0.001905
[158 empty] | 43.3022 | 512.5255 | 0.084063 | 0.0019061
[158 empty] | 43.0885 | 510.188 | 0.08398 | 0.0019096
[158 empty] | 42.8921 | 508.1818 | 0.083909 | 0.0019152
[158 empty] | 42.7264 | 506.6437 | 0.083854 | 0.0019227
[158 empty] | 42.6027 | 505.6784 | 0.083819 | 0.0019315
[158 empty] | 42.5294 | 505.3518 | 0.083808 | 0.0019409
[158 empty] | 42.5115 | 505.6861 | 0.083819 | 0.0019504
[158 empty] | 42.5503 | 506.6585 | 0.083854 | 0.0019593
[158 empty] | 42.643 | 508.2027 | 0.083909 | 0.0019669
[158 empty] | 42.7834 | 510.2136 | 0.08398 | 0.0019729
[158 empty] | 42.9619 | 512.554 | 0.084063 | 0.0019767
[158 empty] | 43.1664 | 515.0645 | 0.084152 | 0.0019781
[158 empty] | 43.3829 | 517.574 | 0.084241 | 0.001977
[158 empty] | 43.5966 | 519.9115 | 0.084324 | 0.0019736
[158 empty] | 43.793 | 521.9177 | 0.084396 | 0.0019679
[158 empty] | 43.9587 | 523.4558 | 0.08445 | 0.0019604
[158 empty] | 44.0824 | 524.4211 | 0.084485 | 0.0019517
[158 empty] | 44.1557 | 524.7477 | 0.084497 | 0.0019422
[158 empty] | 61.6923 | 617.7414 | 0.10041 | 0.0016764
[158 empty] | 61.7034 | 617.0229 | 0.10039 | 0.0016613
[158 empty] | 61.5721 | 614.9326 | 0.10034 | 0.001647
[158 empty] | 61.3075 | 611.6131 | 0.10025 | 0.0016347
[158 empty] | 60.9277 | 607.2905 | 0.10014 | 0.0016252
[158 empty] | 60.4584 | 602.2594 | 0.10001 | 0.0016191
[158 empty] | 59.9316 | 596.8627 | 0.099876 | 0.0016168
[158 empty] | 59.3834 | 591.4681 | 0.099738 | 0.0016185
[158 empty] | 58.8509 | 586.4433 | 0.099609 | 0.0016241
[158 empty] | 58.3706 | 582.1307 | 0.099498 | 0.0016332
[158 empty] | 57.9751 | 578.8242 | 0.099413 | 0.0016451
[158 empty] | 57.6914 | 576.7491 | 0.09936 | 0.0016591
[158 empty] | 57.5389 | 576.0469 | 0.099342 | 0.0016742
[158 empty] | 57.5278 | 576.7654 | 0.09936 | 0.0016894
[158 empty] | 57.6591 | 578.8556 | 0.099413 | 0.0017036
[158 empty] | 57.9237 | 582.1752 | 0.099498 | 0.0017159
[158 empty] | 58.3036 | 586.4978 | 0.099609 | 0.0017255
[158 empty] | 58.7729 | 591.5289 | 0.099738 | 0.0017316
[158 empty] | 59.2996 | 596.9256 | 0.099876 | 0.0017338
[158 empty] | 59.8479 | 602.3202 | 0.10001 | 0.0017321
[158 empty] | 60.3803 | 607.345 | 0.10014 | 0.0017266
[158 empty] | 60.8606 | 611.6576 | 0.10025 | 0.0017175
[158 empty] | 61.2561 | 614.9641 | 0.10034 | 0.0017055
[158 empty] | 61.5398 | 617.0392 | 0.10039 | 0.0016915
[158 empty] | 61.6923 | 617.7414 | 0.10041 | 0.0016764
[158 empty] | 33.9429 | 473.2031 | 0.072025 | 0.0021623
[158 empty] | 33.9518 | 472.8435 | 0.072015 | 0.0021496
[158 empty] | 33.909 | 471.7939 | 0.071987 | 0.0021377
[158 empty] | 33.8175 | 470.126 | 0.071941 | 0.0021274
[158 empty] | 33.6835 | 467.9534 | 0.071881 | 0.0021193
[158 empty] | 33.5162 | 465.4242 | 0.071811 | 0.0021142
[158 empty] | 33.3268 | 462.7107 | 0.071737 | 0.0021122
[158 empty] | 33.1285 | 459.9979 | 0.071662 | 0.0021135
[158 empty] | 32.9345 | 457.4705 | 0.071592 | 0.0021182
[158 empty] | 32.7583 | 455.301 | 0.071532 | 0.0021257
[158 empty] | 32.6117 | 453.637 | 0.071486 | 0.0021356
[158 empty] | 32.5048 | 452.5921 | 0.071458 | 0.0021473
[158 empty] | 32.4449 | 452.2373 | 0.071448 | 0.00216
[158 empty] | 32.436 | 452.597 | 0.071457 | 0.0021727
[158 empty] | 32.4788 | 453.6465 | 0.071486 | 0.0021846
[158 empty] | 32.5703 | 455.3144 | 0.071532 | 0.0021949
[158 empty] | 32.7043 | 457.487 | 0.071592 | 0.0022029
[158 empty] | 32.8717 | 460.0162 | 0.071662 | 0.0022081
[158 empty] | 33.061 | 462.7297 | 0.071736 | 0.0022101
[158 empty] | 33.2594 | 465.4426 | 0.071811 | 0.0022087
[158 empty] | 33.4533 | 467.9699 | 0.071881 | 0.0022041
[158 empty] | 33.6296 | 470.1394 | 0.071941 | 0.0021966
[158 empty] | 33.7761 | 471.8034 | 0.071986 | 0.0021866
[158 empty] | 33.883 | 472.8484 | 0.072015 | 0.0021749
[158 empty] | 33.9429 | 473.2031 | 0.072025 | 0.0021623

## Age Plateau
04C896.AGE >>> EW-616 >>> Dogami
Ar-Ages in Ma
Weighted Plateau
31.39 ± 0.38
Total Fusion
30.78 ± 1.70
Normal Isochron
31.35 ± 0.57
Inverse Isochron
31.34 ± 0.57
MSWD
0.54
Sample Info
whole rock
Oregon
jh
OSU1B04
0.003472 (J)

## K-Ca Plateau
04C896.AGE >>> EW-616 >>> Dogami
Ar-Ages in Ma
Weighted Plateau
31.39 ± 0.38
Total Fusion
30.78 ± 1.70
Normal Isochron
31.35 ± 0.57
Inverse Isochron
31.34 ± 0.57
Sample Info
whole rock
Oregon
jh
OSU1B04
0.003472 (J)

## Normal Isochron
04C896.AGE >>> EW-616 >>> Dogami
Ar-Ages in Ma
Weighted Plateau
31.39 ± 0.38
Total Fusion
30.78 ± 1.70
Normal Isochron
31.35 ± 0.57
Inverse Isochron
31.34 ± 0.57
MSWD
0.59
Sample Info
whole rock
Oregon
jh
OSU1B04
0.003472 (J)

## Inverse Isochron
04C896.AGE >>> EW-616 >>> Dogami
Ar-Ages in Ma
Weighted Plateau
31.39 ± 0.38
Total Fusion
30.78 ± 1.70
Normal Isochron
31.35 ± 0.57
Inverse Isochron
31.34 ± 0.57
MSWD
0.59
Sample Info
whole rock
Oregon
jh
OSU1B04
0.003472 (J)